## Attachment B
March 2014
MONTHLY ENGINEERING REPORT (MER) | [16 empty] | Attachment B
ELECTRIC COOPERATIVE
MONTH
I. ENERGY DATA REPORT
| PURCHASED (kWh) | GENERATED (kWh | TOTAL INPUT (kWh) | REACTIVE (kVarh) | SALES (kWh) | COOP USE (kWh) | RECOVERED (kWh) | TOTAL OUTPUT (kWh) | SYSTEM LOSS |  | TECHNICAL LOSS |  | NON-TECHNICAL LOSS
[9 empty] | (kWh) | (%) | (kWh) | (%) | (kWh) | (%)
THIS MONTH
TO DATE
Include in the computation of System Loss which is/are part/s of the Electric Cooperatives' distribution system such as losses incurred but not limited from 69 kV sub-transmission lines, substations, etc., while the SSL or the Site Specific Loss shall be excluded.
II. DISTRIBUTION LINES ENERGIZED REPORT
TYPE OF CIRCUIT | VOLTAGE RATING (kV) | NO. OF CIRCUIT |  |  | THREE PHASE | TWO PHASE | SINGLE PHASE | SECONDARY |  | CIRCUIT KILOMETERS | LENGTH OF LINES
|  | QUADRUPLE | TRIPLE | DOUBLE |  |  |  | UB | OS
THIS MONTH
TO DATE
III. DISTRIBUTION SUBSTATION and POWER PLANT'S SUBSTATION REPORT
SUBSTATION / POWER PLANT'S SUBSTATION IDENTIFICATION | TRANSFORMER UNIT NO IDENTIFICATION | BRAND | SERIAL NO | RATED CAPACITY (MVA) | OWNERSHIP | STATUS | NO. OF FEEDER | SOURCE VOLTAGE (kV) |  | SECONDARY LINE CURRENT |  |  | PEAK DEMAND (KW) | POWER FACTOR (%) | LOAD FACTOR (%)
[8 empty] | PEAK | OFF-PEAK | A | B | C
A. DISTRIBUTION SUBSTATION
B. POWER PLANT SUBSTATION
IV. POWER QUALITY REPORT
SYSTEM AVERAGE RMS VOLTAGE INDEX (SARVI) 110 =
SYSTEM AVERAGE RMS VOLTAGE INDEX (SARVI) 90 =
Reference Guideline; ERC Resolution No. 11., Series of 2006
V. RELIABILITY REPORT
DESCRIPTION |  | POWER PROVIDER |  | TRANSMISSION PROVIDER |  | ELECTRIC COOPERATIVE
[6 empty] | SCHEDULED |  | UNSCHEDULED
|  | THIS MONTH | TO DATE | THIS MONTH | TO DATE | THIS MONTH | TO DATE | THIS MONTH | TO DATE
A. TOTAL NUMBER OF SUSTAINED CUSTOMER POWER INTERRUPTION
B. TOTAL DURATION OF SUSTAINED POWER INTERRUPTION (Minutes)
C. TOTAL NUMBER OF CUSTOMER INTERRUPTION DURATION (CUSTOMER X MINUTES)
D.TOTAL DURATION MOMENTARY CUSTOMER POWER INTERRUPTION (MINUTES)
E.TOTAL NUMBER OF CUSTOMERS SERVED
f. SAIFI ( A / E) ( > 5 minutes )
g. SAIDI ( C / E)
H. MAIFI (d/e) ( =< 5 minutes )
Reference Guideline; ERC Resolution No. 12, Series of 2006
VI. POWER SUPPLY REPORT
NAME OF POWER PROVIDER (Indicate if EC owned) | TYPE OF POWER PLANT | CAPACITY OF POWER PLANT | LOCATION OF POWER PLANT | DISPATCH SEQUENCE | CONNECTION POINT | ERC APPROVED POWER SUPPLY AGREEMENT (Indicate ERC Case No.) | ANNUAL CONTRACTED (This Year Report) |  |  |  | PERIOD CONTRACTED |  | ACTUAL DISPATCHED (This Month Report) |  |  |  | CURTAILED ENERGY (kWh, This Month Report) | AVERAGE GENERATION RATE (Peso per kWh, This Month Report)
[7 empty] | CAPACITY |  | ENERGY |  | FROM (MM/DD/YY) | TO (MM/DD/YY) | MAXIMUM POWER |  | ENERGY
[7 empty] | (kW) | ( %) | ( KWh) | ( %) |  |  | (kW) | (%) | (KWh) | (%)
Base
Intermediate
Peaking
VII. PHILIPPINE GRID and DISTRIBUTION CODES COMPLIANCE REPORT
PHILIPPINE CODE | APPLICABILITY |  | FULL COMPLIANCE (count) | PARTIAL COMPLIANCE (count) | NONE COMPLIANCE (count) | REQUIRED FUNDING FOR FULL COMPLIANCE (Peso)
| APPLICABLE (count) | NOT APPLICABLE (count)
PHILIPPINE GRID CODE
PHILIPPINE DISTRIBUTION CODE
Funding requirement shall be consistent with the approved NEA-ICPM as the EC's CAPEX Projects.
Detailed PGC and PDC compliance documents shall be submitted to NEA on or before the end of every year.
Prepared and Certified by: |  |  |  | Recommending Approval by:
Name of Engineer |  |  |  | Name of Technical Services Department Manager
Approved/Certified Correct by:
Name of General Manager

## PDC
Electric Cooperative Inc,
Compliance to Philippine Distribution Code
2014
Compliance Assessment
Distribution Code Compliance No. | Title | No. of Parameters | Applicable | Compliance to Applicable Parameters | Status of Compliance | (Initial) | January | Februrary | March | April | May | June | July | August | September | October | November | December | Funding Requirement, Peso
DSC-PDC-001 | Long Duration Voltage Variations | 5 | 5 | 3 | 60% | PC | [12 empty] | 1500000
DSC-PDC-002 | Voltage Sags in the Distribution System | 3 | 0 |  | No input | NA
DSC-PDC-003 | Total Harmonic Distortion (THD) | 3 | 0 |  | No input | NA
DSC-PDC-004 | Total Demand Distortion (TDD) | 3 | 0 |  | No input | NA
DSC-PDC-005 | Voltage Unbalance in the Distribution System | 3 | 3 | 3 | 100% | FC
DSC-PDC-006 | Flicker Severity in the Distribution System | 3 | 0 |  | No input | NA
DSC-PDC-007 | Short Duration Peaks in the Distribution System | 2 | 0 |  | No input | NA
DSC-PDC-008 | Submission of Distribution Interruption Reports | 3 | 3 | 3 | 100% | FC
DSC-PDC-009 | Distribution System Loss Report | 4 | 4 | 4 | 100% | FC
DSC-PDC-010 | Technical Loss Reduction through Reactive Power Compensation | 3 | 3 | 3 | 100% | FC
DSC-PDC-011 | Customer Service Program Report | 2 | 2 | 2 | 100% | FC
DSC-PDC-012 | Distribution System Development, Operation and Maintenance According toPEC and OSHS | 3 | 3 | 3 | 100% | FC
DSC-PDC-013 | Submission of Personnel Safety Records and Reports | 3 | 3 | 3 | 100% | FC
DSC-PDC-014 | Selection of Voltage Ratings of Distribution Equipment | 3 | 3 | 3 | 100% | FC
DSC-PDC-015 | Transient Overvoltage Suppression Devices in the Distribution System | 4 | 4 | 4 | 100% | FC
DSC-PDC-016 | Protection of the Distribution System | 2 | 2 | 2 | 100% | FC
DSC-PDC-017 | Fault Levels Information in the Distribution System | 1 | 1 | 1 | 100% | FC
DSC-PDC-018 | Grounding Method Used in the Distribution System | 1 | 1 | 1 | 100% | FC
DSC-PDC-019 | Monitoring and Control of Equipment for User System | 1 | 0 |  | No input | NA
DSC-PDC-020 | Standards for Equipment in the Distribution System | 2 | 2 |  | No input | NC
DSC-PDC-021 | Maintenance Logbook for the Equipment in the Distribution System | 2 | 2 | 2 | 100% | FC
DSC-PDC-022 | Application for New Connection or Modification of Existing Connection to the Distribution System. | 1 | 1 | 1 | 100% | FC
DSC-PDC-023 | Fixed Asset Boundary Document for Equipment in the Distribution System | 2 | 2 |  | No input | NC
DSC-PDC-024 | Electrical Diagrams for the Equipment in the Distribution System | 2 | 2 |  | No input | NC
DSC-PDC-025 | Connection Point Drawing in the Distribution System | 2 | 2 | 2 | 100% | FC
DSC-PDC-026 | User Data Registration | 2 | 2 |  | No input | NC
DSC-PDC-027 | Maintenance of Distribution Planning Data Bank | 4 | 4 | 4 | 100% | FC
DSC-PDC-028 | Submission of Distribution Development Plan (DDP) | 1 | 1 | 1 | 100% | FC
DSC-PDC-029 | Distribution Planning Studies | 2 | 2 | 2 | 100% | FC
DSC-PDC-030 | Distribution Operating Procedures | 1 | 1 | 0 | 0% | NC
DSC-PDC-031 | Submission of Monthly Reports | 1 | 1 | 1 | 100% | FC
DSC-PDC-032 | Submission of Significant Incident Report | 1 | 1 | 1 | 100% | FC
DSC-PDC-033 | Submission of Annual Operations Report | 1 | 1 | 1 | 100% | FC
DSC-PDC-034 | Distribution Maintenance Program | 4 | 4 | 4 | 100% | FC
DSC-PDC-035 | Distribution Demand and Voltage Control Program | 2 | 2 | 1 | 50% | PC | [12 empty] | 1000000
DSC-PDC-036 | Distribution Emergency Procedures | 1 | 1 | 0 | 0% | NC
DSC-PDC-037 | Distribution Emergency Drills | 2 | 2 | 0 | 0% | NC
DSC-PDC-038 | Safety Coordination Procedures for Safety Precautions | 2 | 2 | 2 | 100% | FC
DSC-PDC-039 | Power Quality Testing and Monitoring in the Distribution System | 1 | 0 |  | No input | NA
DSC-PDC-040 | Monitoring of the Effect of User System on the Distribution System | 1 | 0 |  | No input | NA
DSC-PDC-041 | System Tests on the Distribution System or the User System | 2 | 2 | 2 | 100% | FC | bar: May
DSC-PDC-042 | Capability Tests Procedures for Embedded Generating Units | 2 | 0 |  | No input | NA | bar: January; May
DSC-PDC-043 | Standard System for Site and Equipment Identification | 2 | 2 | 1 | 50% | PC | bar: January; May
DSC-PDC-044 | Standard Labeling System for Site and Equipment Identification | 1 | 1 | 1 | 100% | FC | bar: January; May
DSC-PDC-045 | Installation of Site and Equipment Identification | 1 | 1 | 1 | 100% | FC | bar: January
|  |  | TOTAL |  |  | 45 | 4 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Full Compliance (FC) |  |  | 26 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Partial Compliance (PC) |  |  | 3 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Non-Compliance (NC) |  |  | 7 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Not Applicable (NA) |  |  | 9 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Funding Requirement, Pmillion |  |  | 2.5

## PGC
Electric Cooperative Inc,
Compliance to Philippine Grid Code
2014 | [5 empty] | Compliance Assessment
Grid Code Compliance No. | Title | No. of Parameters | Applicable | Compliance to Applicable Parameters | Status of Compliance | Initial | January | February | March | April | May | June | July | August | September | October | November | December | Funding Requirement, Peso
PGC 001 | Control of System Frequency within the Prescribed Limits | 4 | 0 | 0 | 0% | NA
PGC 002 | Long Duration Voltage Variation at the Connection Points of the Grid | 6 | 0 | 0 | 0% | NA
PGC 003 | Total Harmonic Distortion (THD) and Total Demand Distortion (TDD) at the Connection Points of the Grid | 4 | 4 | 3 | 75% | PC | [12 empty] | 250000
PGC 004 | Negative Sequence Unbalance Factor (NSUF) at the Connection Points of the Grid | 3 | 0 | 0 | 0% | NA
PGC 005 | Zero Sequence Unbalance Factor (ZSUF) at the Connection Points of the Grid | 3 | 0 | 0 | 0% | NA
PGC 006 | Voltage Fluctuation at the Connection Points of the Grid | 5 | 0 | 0 | 0% | NA
PGC 007 | Flicker Severity at the Connection Points of the Grid | 4 | 0 | 0 | 0% | NA
PGC 008 | Short Duration Peaks at the Connection of the Grid | 3 | 0 | 0 | 0% | NA
PGC 009 | Submission of Transmission Interruption Reports to ERC through the GMC | 2 | 0 | 0 | 0% | NA
PGC 010 | Application to ERC for the Approval of Proposed Cap on the Grid Technical and Non- Technical Losses | 2 | 0 | 0 | 0% | NA
PGC 011 | Application to ERC for the Approval of Proposed Cap on the Grid Administrative Losses | 3 | 0 | 0 | 0% | NA
PGC 012 | Development, Operation and Maintenance of Transmission in Accordance with PEC Part 1 and Part 2 and the OSHS | 2 | 0 | 0 | 0% | NA
PGC 013 | Submission of Personnel Safety Records and Reports to the ERC | 2 | 0 | 0 | 0% | NA
PGC 014 | Selection of Voltage Ratings of Grid Equipment | 3 | 0 | 0 | 0% | NA
PGC 015 | Required Transient Overvoltage Suppression Devices in the Grid. | 3 | 3 | 0 | 0% | NC
PGC 016 | System Grounding of the Grid at Nominal Voltages of 115 kV and Above. | 1 | 0 | 0 | 0% | NA
PGC 017 | System Grounding of the Grid at Nominal Voltages Below 115 kV | 2 | 0 | 0 | 0% | NA
PGC 018 | Standards for Equipment at the Connection Points of the Grid | 2 | 2 | 1 | 50% | PC | [12 empty] | 5000000
PGC 019 | Maintenance Logbook for the Equipment at the Connection Points of the Grid | 2 | 2 | 2 | 100% | FC
PGC 020 | Application for New Connection or Modification of Existing Connection to the Grid | 1 | 0 | 0 | 0% | NA
PGC 021 | Communication System for Monitoring and Control | 3 | 0 | 0 | 0% | NA
PGC 022 | Fixed Asset Boundary Document for Equipment at the Connection Point of the Grid | 4 | 4 | 4 | 100% | FC
PGC 023 | Electrical Diagrams for the Equipment at the Connection Point of the Grid | 4 | 4 | 4 | 100% | FC
PGC 024 | Connection Point Drawing at the Connection Point of the Grid | 4 | 4 | 4 | 100% | FC
PGC 025 | Registration of User Data Relating to the Connection | 2 | 0 | 0 | 0% | NA
PGC 026 | Expansion Planning for the Communication System | 1 | 0 | 0 | 0% | NA
PGC 027 | Maintenance of Grid Planning Data Bank | 2 | 0 | 0 | 0% | NA
PGC 028 | Impact Studies for the Evaluation of Grid Expansion | 3 | 0 | 0 | 0% | NA
PGC 029 | Impact Studies for the Evaluation of User Development Project | 4 | 4 | 4 | 100% | FC
PGC 030 | Operation and Control of the Grid at Normal State | 1 | 0 | 0 | 0% | NA
PGC 031 | Control and Monitoring of Power Quality | 3 | 3 | 3 | 100% | FC
PGC 032 | Grid Security and Reliability | 3 | 0 | 0 | 0% | NA
PGC 033 | Frequency Control of the Grid by Frequency Regulating Reserve, Contingency Reserve and Demand Control | 2 | 0 | 0 | 0% | NA
PGC 034 | Grid Voltage Operation to Reduce the Vulnerability of the Grid to Instability Problems | 2 | 0 | 0 | 0% | NA
PGC 035 | Operation of the Grid into Several Island Grids Following a Significant Incident | 1 | 0 | 0 | 0% | NA
PGC 036 | Restoration of the Grid by the Black. Start and Fast Start Facilities Following a Total System Blackout | 2 | 0 | 0 | 0% | NA
PGC 037 | Primary and Backup Protection System of the Grid | 2 | 0 | 0 | 0% | NA
PGC 038 | Issuance of Grid Alert State Notices | 2 | 0 | 0 | 0% | NA
PGC 039 | Issuance of Significant Incident Notice | 2 | 0 | 0 | 0% | NA
PGC 040 | Issuance of User's Planned Activity Notices | 3 | 3 | 3 | 100% | FC
PGC 041 | Submission of Weekly Grid Operation Reports to the GMC | 1 | 0 | 0 | 0% | NA
PGC 042 | Submission of Grid Significant Incident Report to the GMC | 2 | 0 | 0 | 0% | NA
PGC 043 | Submission of Quarterly and Annual Grid Operation Reports to the GMC | 1 | 0 | 0 | 0% | NA
PGC 044 | Grid Operating Program | 2 | 0 | 0 | 0% | NA
PGC 045 | Grid Maintenance Program | 4 | 4 | 4 | 100% | FC
PGC 046 | Automatic Load Dropping Program of the Grid | 4 | 4 | 0 | 0% | NC
PGC 047 | Manual Load Dropping Program of the Grid | 2 | 2 | 2 | 100% | FC
PGC 048 | Issuance of Demand Control | 4 | 4 | 4 | 100% | FC
PGC 049 | Grid Emergency Procedures | 1 | 0 | 0 | 0% | NA
PGC 050 | Grid Emergency Drills | 2 | 0 | 0 | 0% | NA
PGC 051 | Safety Coordination Procedures for Safety Precautions | 2 | 2 | 0 | 0% | NC
PGC 052 | System Test Procedures | 1 | 0 | 0 | 0% | NA
PGC 053 | Generating Unit Capability Test Procedures | 3 | 0 | 0 | 0% | NA
PGC 054 | Standard System for Site and Equipment identification | 3 | 0 | 0 | 0% | NA
PGC 055 | Standard Labeling System for Site and Equipment Identification | 2 | 2 | 2 | 100% | FC
PGC 056 | Provision and Installation of site and Equipment Identification | 3 | 3 | 3 | 100% | FC
PGC 057 | Submission to the ERC through the GMC of Grid Reliability Performance Targets and Historical Reliability Data and Performance | 1 | 0 | 0 | 0% | NA
PGC 058 | Control of Connection Point by Circuit Breaker in the Grid | 2 | 2 | 0 | 0% | NC
PGC 059 | Isolation of Circuit Breaker by Disconnect Switches in the Grid | 4 | 4 | 0 | 0% | NC
PGC 060 | Protection of Grid User’s Equipment in the Grid | 1 | 1 | 1 | 100% | FC
PGC 061 | Circuit Breaker Fail Protection for Grid User’s Equipment | 2 | 2 | 0 | 0% | NC
PGC 062 | Reliability of Protection System | 3 | 3 | 0 | 0% | NC
PGC 063 | Transformer’s Connection in the Grid at 115 kV and Above | 2 | 0 | 0 | 0% | NA
PGC 064 | Submission of Planning Data to the Grid Owner | 2 | 2 | 2 | 100% | FC
PGC 065 | Correction of Power Quality Problems at the Connection Point | 2 | 2 | 2 | 100% | FC
PGC 066 | Maintenance of Voltage-Control Equipments in the Grid | 3 | 3 | 3 | 100% | FC
PGC 067 | Compliance of the Large Generators | 1 | 0 | 0 | 0% | NA
|  |  |  | TOTAL |  | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Full Compliance (FC) |  | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Partial Compliance (PC) |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Non-Compliance (NC) |  | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Not Applicable (NA) |  | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Funding Requirement, Pmillion |  | 5.25